Former Jewett’s IGA Equipment List

Refrigeration / Freezers:

Retail Cases:

1 - 24’ Multi deck self serve beer case – Installed New 2006 $3,000

1 - 16’ Single deck deli service case w/ shelves – Installed New 1988 $100 Scrap

1 - 12’ Multi deck self serve deli case – Installed New 2009	$2,500

1 - 24’ Multi deck self serve fresh meat case – Installed New 1995 $2,000

1 - 20’ Multi deck self serve smoked meat case – Installed New 1995 $2,000

1 - 12’ Multi deck self serve w/ pass way to milk cooler, milk case –Installed New 1988 $100 Scrap

1 - 48' Multi deck self serve dairy case - Installed New 1988 $400 Scrap

1 - 46 Door Multi deck enclosed self serve freezer case - Made 1996 / Installed 2010 $15,000

1 - 32’ Multi deck self serve produce case – Installed Used 2014 $4,000

Back Room Coolers & Freezers:

1 - Walk In, 1 Pallet Door Freezer 22' x 21', Installed New 1998 $5,000

1 - Walk In, 1 Pallet Door, Dairy Cooler 16' x 10', Installed New 1988 $100

1 - Walk In, 1 Man Door, Produce Cooler 9' x 10', Installed Used 1988 $100

1 - Walk In, 1 Man Door, Deli Freezer 9' x 6', Installed Used 1988 $100

1 - Walk In, 2 Pallet Door, Meat Cooler 11'-7" x 19'-4", Installed New 1988 $2,000

1 - Walk In, 1 Pallet Door, "Milk" Dairy Cooler W/ Rear Loading Milk Case 12' x 16', Installed Used 1988

$1,000

Compressors / Case or Freezer Controlled:

Walk In Freezer, Model # 3DB3F33KE-TFC-800, Serial # 08H64865R, Year 2008, Refrigeration Gas -

R-409A, 7 & 1/2 H.P. $750

Walk In Dairy Cooler, Model # EAL1-0200-TAC, Serial # 93A75547, Year 1993, Refrigeration Gas -

R-409A, 2 H.P. $200

Produce Case, Model # 9RB1-0765-TFC, Serial # 87G09359, Year 1987, Refrigeration Gas - R-409A,

7 & 1/2 H.P. $750

Walk In Deli Freezer, Unused, Model # ZF06K4E-TFD-231, Serial # 00G06197G, Year 2000, Refrigeration 	Gas - R-404A, 2 H.P. $200

12' Self Serve Cheese Case, Model # ENV021E-TNC-800, Serial # 10J60784R, Year 2010, Refrigeration 	Gas - R-409A, 2 H.P. $200

Meat Preparation Room, Model #MRFZ-0500-TFC, Serial # 86B07426, Year 1986, Refrigeration Gas -

R-409A, 5 H.P. $500

24' Fresh Meat Case, Model # 9RA1-0505-TFC-800, Serial # 96B76973, Year 1996, Refrigeration Gas -

R-409A, 5 H.P. $500

Rear 13 Door Freezer South Side, Model # 9RB1-076A-TFC-800, Serial # 10L63099R, Year 2010, 	Refrigeration Gas - R-408A, 7 & 1/2 H.P. $750

Rear 10 Door Freezer North Side, Model # 9R52-076A-TFC-800, Serial # 10J63267R, Year 2010, 	Refrigeration Gas - R-408A, 7 & 1/2 H.P. $750

Front 13 Door Freezer North Side, Model # 3DF3A090E-TFC-800, Serial # 00F72036, Year 2000, 	Refrigeration Gas - R-408A, 9 H.P. $900

Front 10 Door Freezer South Side, Model # 2DA306E-TFC-800, Serial # 006031609, Year 2000, 	Refrigeration Gas - R-404A, 6 H.P. $600

24' Dairy Case "east", Model # 9RB1-076A-TFC-800, Serial # 12G61308R, Year 2012, Refrigeration Gas - 	R-409A, 7 & 1/2 H.P. $750

20' Smoked Meat & 24' Dairy "west" Case, Model # 4RA3-100A-TSK-800, Serial # 11D6488IR, Year 	2011, Refrigeration Gas - R-409A, 10 H.P. $1000

Meat Walk In Cooler, Model # LAHA-032E-TEC-800, Serial # 97177477, Year 1997, Refrigeration Gas -

R-409A, 3 H.P. (Compressor Already Sold)

12' Milk Case & Pass Way "Milk" Dairy Cooler, Model # 2DD3-0500-TFC-220, Serial # 94B030635, Year 	1994, Refrigeration Gas - R-22, 5 H.P. $500

24' Beer Case, Model # 2DD305E-TFC, Serial # 06E01322R, Year 2006, Refrigeration Gas - R-404A, 5 H.P.

$500

16' Deli Service Case, Model # KAEA-005A-TAC-800, Serial # 1262450R, Year 2012, Refrigeration Gas -

R-409A, 1/2 H.P. $50

Walk In Produce Cooler, Model # KAJ1-0100-TNC, Serial # 82A72675, Year 1982, Refrigeration Gas -

R-409A, 1 H.P. $100

HVAC:

4 Ton Goodman Heat Pump and 95% Efficient Gas Furnace, Controlling; 3 Rear Offices, Men's & 	Woman's Rest Rooms, & Produce Preparation Room, Model # H19052130481AA, Serial # 	1007040205, Year 2010      Stolen -0-

15 Ton A/C for Sales Floor with 200,000 BTU Reznor Gas Furnace with Heat Reclaim from Refrigeration 	Compressors, Approximate date of 200,000 BTU unit installation, new 2006? $1,500

3 Independently Controlled, Ceiling Mounted, Gas Furnaces for heating "Back Room" and 1 in 	Warehouse, specs unknown $1,500

Meat Department Equipment:

1 - Mettler Toledo Touch Screen Scale $500

1 - Mettler Toledo Wrapping Station $250

1 - Biro Meat Band Saw, Model # 1433, Serial # 492, 3 Phase Electric, 2 H.P. $2,000

1 - Berkel Meat Tenderizer, Model # 704, Serial # 9231-1111, Single Phase Electric $500

1 - Biro Table Top Meat Grinder, Model # 922, Serial # C986-3799, Single Phase Electric, 1 H.P. $2,500

1- Butcher Boy "Large Floor Model", Model # A52F, Serial # 3233, 3 Phase Electric, 10 H.P. $2,500

1 - Hollymatic Table Top, On 4 Wheel Stainless Cart, Patty Machine, Model # Super Model 54, Serial # 	64256, Single Phase Electric $4,000

3 - Stainless Steel "John Boos & Co." Tables with Synthetic Cutting Tops $300

2 - Stainless Steel Preparation Tables  $200

1 - Wood Preparation Table -0-

Many Misc. shelves and product racks, product carts and aluminum trays in meat room and cooler

Deli Department Equipment:

1 - Winston Electric Fryer Degreaser, Single Phase Electric $250

1 - Winston Deep Fryer, Single Phase Electric $2,500

1 - Winston Stainless Steel Breading Station $50

1 - LDI MFG. Exhaust Hood & Fire Suppression System $2,500

1 - Idea Gold Series Soup Warmer, 2 compartment unit, Single Phase Electric $50

1 - Hobart Rotisserie, Model # HR0101, Single Phase Electric $100

1 - Mettler Toledo Touch Pad Scale $500

1 - Bizerba Meat Slicer, Serial # 30005791, Single Phase Electric, Bought New in 2012 $2,000

1 - Winston Service Hot Bar, Single Phase Electric -0-

1 - Instant Burger Machine, 2 patty, Single Phase Electric $500

2 - Stainless Steel Preparation Tables $200

1 - Stainless Steel "John Boos & Co." Table with Synthetic Cutting Top $100

Many Misc. utensils & food prep. equipment

Produce Department Equipment:

1 - Mettler Toledo Touch Screen Scale $500

1 - Heat Seal Table Top Wrapping Station -0-

2 - wood tables with storage -0-

Misc. racks and trays

Back Room:

1 - National Bailing Press Cardboard Bailer, Model # HY 45-A, Serial # 12-589 $500

1 - Manual Yale Pallet Jack $100

1 – Battery Powered Forklift $1,000

Many Misc. Pallet Racks and other Misc. Equipment

Sales Floor & Offices:

1 - Back Office Server, Dell PowerEdge T310, Intel Xeon, w/ Windows 2008 Server, RBO Inventory 	                                                                                                                               	      Software, and Scanmaster POS Software $1,000

1 - Front Office Workstation, Dell Precision 380, Intel Pentium 4, w/ Windows 2000 Server, Scanmaster 	                                	      POS Software $500

1 - Hardware Router / Network System $50

4 - IBM Registers, Scales, LCD Monitors, Scanners, bought new in 2012 $7,500

3 - Metal Check Stands with Automatic belts $300

187- 4 Foot Sections Grocery Shelving, Multi Shelf $7,500

8 - Euro Produce "Dry" Display Tables $400

11 - 4 Foot Pop Display Shelves, Multi Deck $225

1 - 3 Foot Pop Display Shelf, Multi Deck $25

Approximately 35 Shopping Carts $2,000

The "Back Office / Receiving Office have built in desks and cabinets

The Front Office has Multiple Desks / Workstations

Multiple Vendor End caps, Little Debbie, Chips, Etc.

Electrical:

1 - Baldor 250 kilowatt, Diesel Generator, w/ 490 Gallon Above Ground, Double Walled, Diesel Tank, w/ 	      Automatic Transfer Panel to run store during power outages, Installed New in 2011 $35,000

1400 amp, 3 Phase electrical service w/ plenty of service left for add-ons like a Subway and Gas Pumps

This list is a detailed inventory of equipment for sale at 299 Yankeetown Street, Mount Sterling, Ohio 43143.

-Compressors are valued at scrap value since they can't be guaranteed. Scrap value is $100 per horsepower.

-Total $127,800